## Slide 1: Using Voltage Regulators to Power Your Projects
Bret Stateham
Bret.Stateham@microsoft.com
@BretStateham
http://channel9.msdn.com/niners/BretStateham

## Slide 2: Agenda

## Slide 3: What is a voltage regulator?
A Voltage Regulator is a component in a system that is designed to maintain or “regulate” a constant output voltage given certain parameters.

## Slide 4
SO WHAT?

## Slide 5
UNREGULATED POWER SUPPLIES THAT’S WHAT!

## Slide 6
OH, AND PROJECTS WITH MULTIPLE VOLTAGE AND POWER REQUIREMENTS TOO!

## Slide 7
SO THERE!

## Slide 9: Step-Down AC Transformer
Solid Core
Primary Coil
Secondary Coil

## Slide 10: Step-Down AC Transformer
Solid Core

## Slide 11: Step-Down AC Transformer
Solid Core

## Slide 12: Step-Down AC Transformer
Solid Core
Primary Coil
Secondary Coil

## Slide 13: Step-Down AC Transformer
AC INPUT
AC OUTPUT
Primary Coil – Has more windings
Secondary Coil – Has fewer windings
AC Output voltage will be lower than AC Input voltage because the secondary coil has fewer windings.

## Slide 14: Step-Down AC Transformer
AC INPUT
AC OUTPUT
Primary Coil – Has more windings
Secondary Coil – Has fewer windings
AC Output voltage will be lower than AC Input voltage because the secondary coil has fewer windings.

## Slide 15: diodes
1N4007
Anode
Cathode
A Diode is a semi-conductor that only allows current to flow from it’s “Anode” to it’s “Cathode”

## Slide 16: diodes
+V
-V
“Forward Biased” - Current can flow
1N4007
Anode
Cathode

## Slide 17: diodes
-V
+V
“Reverse Biased” – Current can NOT flow
1N4007
Anode
Cathode

## Slide 18: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
+V
+V
0V
0V
RLOAD

## Slide 19: HALF-WAVE RECTIFICATION
AC INPUT
RLOAD

## Slide 20: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
+V
+V
0V
0V
RLOAD
Diode is “Forward Biased” so current flows

## Slide 21: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
+V
+V
0V
0V
RLOAD
Diode is “Forward Biased” so current flows

## Slide 22: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
0V
+V
RLOAD
Diode is “Reverse Biased” so NO current flows

## Slide 23: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
0V
0V
+V
0V
RLOAD
Diode is “Forward Biased” so NO current flows

## Slide 24: HALF-WAVE RECTIFICATION
AC INPUT
AC
DC
+V
0V
RLOAD
DC
Average

## Slide 25: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V

## Slide 26: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V

## Slide 27: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
AC
DC
+V
0V
+V
+V
0V
+V
0V

## Slide 28: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V
+V
+V
0V
0V
AC

## Slide 29: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V
+V
+V
0V
0V
AC

## Slide 30: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V
+V
+V
0V
+V
0V
AC

## Slide 31: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
+V
0V
+V
+V
0V
0V
DC
AC

## Slide 32: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
DC
0V
0V
+V
+V
+V
0V
AC

## Slide 33: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
DC
0V
0V
+V
+V
+V
0V
AC

## Slide 34: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
DC
0V
0V
+V
+V
+V
0V
AC

## Slide 35: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
AC
DC
+V
0V

## Slide 36: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
AC
DC
+V
0V
“BUMPY” OUPUT

## Slide 37: AC-DC full wave Bridge rectifier
AC INPUT
DC OUPUT
AC
DC
+V
0V
DC AVG

## Slide 38: Unregulated power supply
AC-DC Power Supply Input: 120VAC Output: 12VDC / 600ma

## Slide 39: Unregulated power supply
Full Wave Bridge Rectifier

## Slide 40: Unregulated power supply ISSUES
AC-DC Power Supply Input: 120VAC Output: 12VDC / 600ma
The “Output” voltage rating is a LIE!
Ok, not a “lie”, but it is rarely factual. Why?
When there is no load, or a load that requires less than the rated amperage, the voltage will be much higher.
Also, changes or spikes in the input AC, or the DC load will cause the voltage to change.
Finally, there will always be some “Ripple” in the output DC under load due to the AC component in the voltage.

## Slide 41: REGULATED DC POWER SUPPLY
AC INPUT
DC OUPUT
+V
0V

## Slide 43
VOLTAGE REGULATOR

## Slide 44: IoT Logo

## Slide 45: arduino

## Slide 46: GALILEO BOARD

## Slide 47: RASPBERRY PI

## Slide 48: FEZ SPIDER MAIN BOARD

## Slide 49: Sparkfun weather shield

## Slide 50: FEZ HAT

## Slide 51: Connect the dots azure icons
Microsoft Azure
Event Hubs
Stream Analytics
Storage blob
Storage table
SQL database
(
generic
)
Storage
(
Azure
)
Web App
Machine
Learning
GitHub code
Git repository
Service Bus
HDInsight

## Slide 52: LEDs

## Slide 53: Resistors
1st Digit
2nd Digit
Multiplier
Tolerance
Color | Name | 1st Digit | 2nd Digit | Multiplier | Tolerance
 | Black | 0 | 0 | X1 | 
 | Brown | 1 | 1 | X10 | 1%
 | Red | 2 | 2 | X100 | 
 | Orange | 3 | 3 | X1,000 | 
 | Yellow | 4 | 4 | X10,000 | 
 | Green | 5 | 5 | X100,000 | 
 | Blue | 6 | 6 | X1,000,000 | 
 | Violet | 7 | 7 |  | 
 | Grey | 8 | 8 |  | 
 | White | 9 | 9 |  | 
 | Gold |  |  | X0.1 | 5%
 | Silver |  |  | X0.01 | 10%
220Ω
330Ω
10KΩ

## Slide 54: cables

## Slide 55: More cables and adapters

## Slide 56: LEDs
Long Leg
Short Leg
Small Post
Big Post
Flat Edge
Vcc (+)
GND
Anode (+)
Cathode (-)

## Slide 57: LEDs

## Slide 58: Current limiting resistors
Providing more current than an LED is rated for can destroy the LED. To prevent that, you should use a “Current Limiting” resistor.
To calculate the value of the resistor you need to know the supply voltage (Usually 5V on the Arduino Uno), and the LEDs rated Forward Voltage (the voltage drop across the LED) and Forward Current (the maximum current the LED can handle).
The Arduino Uno has a built in current limiting resistor on Pin 13. If you use Pin 13 to power your LED you can use it without a separate resistor.

## Slide 59: Resistors
1st Digit
2nd Digit
Multiplier
Tolerance
Color | Name | 1st Digit | 2nd Digit | Multiplier | Tolerance
 | Black | 0 | 0 | X1 | 
 | Brown | 1 | 1 | X10 | 1%
 | Red | 2 | 2 | X100 | 
 | Orange | 3 | 3 | X1,000 | 
 | Yellow | 4 | 4 | X10,000 | 
 | Green | 5 | 5 | X100,000 | 
 | Blue | 6 | 6 | X1,000,000 | 
 | Violet | 7 | 7 |  | 
 | Grey | 8 | 8 |  | 
 | White | 9 | 9 |  | 
 | Gold |  |  | X0.1 | 5%
 | Silver |  |  | X0.01 | 10%
220Ω
330Ω
10KΩ

## Slide 60: Potentiometer – variable resistor

## Slide 61: breadboards
Breadboards offer a great way to prototype circuits. The provide a number of “buses” for connecting both power and components.
Power buses run the entire horizontal length
Component buses give you easy ways to connect pins together

## Slide 64: Micro SD Cards
Font: Segoe UI Semibold